TOP OF THE RANGE

LASER STIMULATOR + ACUPUNCTURE POINTS SCANNER + ELECTRO ACUPUNCTURE TREATMENT  (POINTER PULSE)

FEATURES:

Modern Spring Type Probe Tip Sensitivity Adjustment Immediate Point Location and Treatment T.E.N.S. Stimulation and or Laser stimulation continuous or 10 Hz pulsed laser stimulation

TECHNICAL SPECIFICATIONS :

For Electric stimulation Output Current: 2-45 mA r.m.s. Pulse Rate: 10 Hz (Fixed) ¡Ó20% Pulse Width: 260 £gS (Fixed) ¡Ó20% For Laser stimulation Laser wavelength: 650nm Maximum power output: <5mW, solid state diode ¡§I¡¨ : continuous laser output. ¡§II¡¨ : 10 Hz pulsed laser output Power Source: 9V alkaline battery. Unit Dimensions: 210 x 45-85 x 24 mm Unit Weight: 100 gm (unit only).

ACUPUNCTURE POINTS SCANNER

+ ELECTRO ACUPUNCTURE TREATMENT

(Pointer Excel II)

6-Channel Programmable Electro- Acupuncture Device (Model ES-160)

| Power supply | DC 6V , four(4) alkaline LR 14 batteries |
| --- | --- |
| Number of channels | 6, independently controllable |
| Pulse shape | Symmetric bi-phase rectangular pulse |
| Current amplitude | Stimulation by pen type electrode: 0-48 mA(peak) |
| Electro-acupuncture | High:0-32 mA¡Ó 25%(peak) Low:0-16 mA¡Ó 25%(peak) |
| Phase duration | 50-400 ms, adjustable |
| Timer | 1-60 minutes |

Professional Acupuncture Apparatus

(Model 6805A-II)

Palm-sized Acupuncture Apparatus (Model IC-1107)

| Pulse rate | 0-500 pps. Variable |
| --- | --- |
| Intensity | Low setting : max 20 mA High setting : 30 mA (1000 ohms test load) |
| Pulse width | 100 microseconds |
| Pulse shape | bi- phasic |
| Output | 3 channels |
| Others | Battery checker. Pulse rate indication |
| Power Source | one 9V battery |
| Size | 61 x 96x27 mm |
| Weight : | 200 gm |

Multipurpose Health Device (Model G6805-2)

Multi-Purpose Health Device (Model KWD-808 II)

Electronic Acupuncture Treatment Instrument

(Model SDZ-II)

Pocket size infra-red Mini Laser

Computer And Random Pulse Acupuncture Treatment Instrument (Nerve & Muscle Stimulator)

(Model SMY-10A)

High-frequency Electronic Acupunctoscope

(Model WQ-6F)

# Text boxes

€ 315

€ 175

€ 585

€ 325

€ 275

€ 325

€ 215

€ 325

€ 315

SMY-10A COMPUTER Acupuncture Treatment Instrument  is combined with modern microcomputer high-new technique, Traditional Chinese medicine Acupuncture and is based on the traditional SMY series of electronic acupuncture treatment instruments, put together the advantages of similar products, is a new type of electronic acupuncture treatment instrument, which has the functions of electronic acupuncture treatment and nerve and muscle stimulator.

The instrument is easy to carry and use, has good treatment effect, without pain and side-effect. It is usable in clinical such as medicine departments of internal, surgical, woman, children, skin, eye, bone-wound, etc. It is welcome in hospital as electronic acupuncture treatment instrument, meanwhile it is a new type of nature treatment and healthy product widely suitable in hospital and home.

€ 385

€ 255